## Phase 1
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
| SW3P & SITEWORK | [24 empty] | Average Unit Price
| ITEM | DESCRIPTION |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Site Excavation |  | CY | 208392 | 3.5 | 729372 | CY | 201925 | 2.83 | 571447.75 |  | CY | 49326 | 5.9 | 291023.4 |  | CY | 199242 | 2.25 | 448294.5 | CY | 207878 | 3.6 | 748360.8 | 3.616
| 2 | Site Embankment |  | CY | 38454 | 3.5 | 134589 | CY | 44453 | 2.51 | 111577.03 |  | CY | 50097 | 4.71 | 235956.87 |  | CY | 45654 | 2.25 | 102721.5 | CY | 37773 | 2.4 | 90655.2 | 3.074
| 3 | Curb Inlet Protection (Filter Dike) |  | EA |  |  | 0 | EA | 8 | 95 | 760 |  | EA | 7 | 93.1 | 651.7 |  | EA | 7 | 182.79 | 1279.53 | EA | 7 | 14.5 | 101.5 | 77.078
| 4 | Construction Entrance |  | EA |  |  | 0 | EA | 1 | 1500 | 1500 |  | EA | 1 | 3620 | 3620 |  | EA | 1 | 1350.86 | 1350.86 | EA | 1 | 5850 | 5850 | 2464.172
| 5 | Concrete Washout Pit |  | EA |  |  | 0 | EA | 1 | 700 | 700 |  | EA | 1 | 1500 | 1500 |  | EA | 1 | 506.57 | 506.57 | EA | 1 | 1750 | 1750 | 891.314
| 6 | Rock Berm |  | LF |  |  | 0 | LF | 93 | 25 | 2325 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 5
| 7 | Silt Fence |  | LF |  |  | 0 | LF | 7545 | 2.2 | 16599 |  | LF | 7877 | 4.05 | 31901.85 |  | LF | 7877 | 2.2 | 17329.4 | LF | 7877 | 2.95 | 23237.15 | 2.28
| 8 | Clear & Grub/Strip Top Soil |  | AC | 45.34 | 500 | 22670 | AC | 51.65 | 1865 | 96327.25 |  | AC | 51.65 | 380 | 19627 |  | AC | 51.56 | 450.29 | 23216.9524 | AC | 51.65 | 1780 | 91937 | 995.058
| 9 | Reveg ROW |  | SY |  |  | 0 | SY | 15358 | 1.65 | 25340.7 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 0.33
| 10 | Stock Pile on Site |  | CY | 169938 | 0.05 | 8496.9 | CY |  |  | 0 |  | CY |  |  | 0 |  | CY | 170039 | 1.69 | 287365.91 | CY |  |  | 0 | 0.348
[6 empty] | SUBTOTAL | 895127.9 |  |  | SUBTOTAL | 826576.73 |  |  |  | SUBTOTAL | 584280.82 |  |  |  | SUBTOTAL | 882065.2224 |  |  | SUBTOTAL | 961891.65
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
ESTIMATED STREET QUANTITIES
| ITEM | DESCRIPTION |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 2" HMAC (Local) |  | SY | 16939 | 12 | 203268 | SY | 15812 | 8.92 | 141043.04 |  | SY | 15115 | 9.45 | 142836.75 |  | SY | 17594 | 9.55 | 168022.7 | SY | 15115 | 12.7 | 191960.5 | 10.524
| 2 | 11" Flex Base (Local) |  | SY | 20401 | 11 | 224411 | SY | 19327 | 10.51 | 203126.77 |  | SY | 19150 | 12.25 | 234587.5 |  | SY | 21294 | 10.68 | 227419.92 | SY | 19150 | 11.6 | 222140 | 11.208
| 3 | Subgrade Prep |  | SY |  |  | 0 | SY |  |  | 0 |  | SY | 27389 | 1.6 | 43822.4 |  | SY |  |  | 0 | SY |  |  | 0 | 0.32
| 4 | 6" Lime Stabilized Subgrade (Local) |  | SY | 20401 | 6 | 122406 | SY | 19327 | 7.5 | 144952.5 |  | SY | 19150 | 7.65 | 146497.5 |  | SY | 21294 | 5.72 | 121801.68 | SY | 19150 | 6.45 | 123517.5 | 6.664
| 5 | 1.5" Type D HMAC (Collector) |  | SY | 6157 | 9 | 55413 | SY | 7018 | 6.87 | 48213.66 |  | SY | 6867 | 7.3 | 50129.1 |  | SY | 6867 | 9.43 | 64755.81 | SY | 6867 | 9.35 | 64206.45 | 8.39
| 6 | 2.5" Type C HMAC (Collector) |  | SY | 6157 | 14 | 86198 | SY | 7018 | 11.15 | 78250.7 |  | SY | 6867 | 11.8 | 81030.6 |  | SY | 6867 | 14.23 | 97717.41 | SY | 6867 | 14.8 | 101631.6 | 13.196
| 7 | 17.5" Flex Base (Collector) |  | SY | 6927 | 17 | 117759 | SY | 8011 | 15.6 | 124971.6 |  | SY | 7951 | 17.8 | 141527.8 |  | SY | 7951 | 15.02 | 119424.02 | SY | 7951 | 17.1 | 135962.1 | 16.504
| 8 | 8" Lime Stabilized Subgrade (Collector) |  | SY | 6927 | 7 | 48489 | SY | 8011 | 9.38 | 75143.18 |  | SY | 7951 | 9 | 71559 |  | SY | 7951 | 7.37 | 58598.87 | SY | 7951 | 8.4 | 66788.4 | 8.23
| 9 | Prime Coat |  | GAL |  |  | 0 | GAL | 4566 | 3.44 | 15707.04 |  | GAL | 4396.4 | 3.65 | 16046.86 |  | GAL | 4396 | 4.5 | 19782 | GAL | 4396 | 5.4 | 23738.4 | 3.398
| 10 | Header Curb |  | LF | 140 | 19 | 2660 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 3.8
| 11 | Curb & Gutter |  | LF | 12697 | 20 | 253940 | LF | 12800 | 14.5 | 185600 |  | LF | 12800 | 14.1 | 180480 |  | LF | 12800 | 15.2 | 194560 | LF | 12800 | 15.6 | 199680 | 15.88
| 12 | Valley Gutter |  | EA | 6 | 6000 | 36000 | EA | 6 | 7993 | 47958 |  | EA | 274 | 98.2 | 26906.8 |  | EA | 274 | 134.23 | 36779.02 | EA | 274 | 81.7 | 22385.8 | 2861.426
| 13 | Ribbon Curb |  | LF |  |  | 0 | LF | 250 | 43 | 10750 |  | LF | 250 | 29.85 | 7462.5 |  | LF | 250 | 25.89 | 6472.5 | LF | 250 | 15.1 | 3775 | 22.768
| 14 | Bollards |  | EA | 25 | 280 | 7000 | EA | 26 | 562 | 14612 |  | EA | 26 | 520 | 13520 |  | EA | 26 | 292.46 | 7603.96 | EA | 26 | 277 | 7202 | 386.292
| 15 | 6" Sch 40 Conduit |  | LF | 690 | 23 | 15870 | LF | 690 | 21 | 14490 |  | LF |  |  | 0 |  | LF | 690 | 21.51 | 14841.9 | LF | 690 | 21.4 | 14766 | 17.382
| 16 | 10' Hike & Bike |  | SY | 904 | 63 | 56952 | SY | 1050 | 66 | 69300 |  | SY | 1050 | 72.4 | 76020 |  | SY | 1050 | 55.38 | 58149 | SY | 1050 | 59.5 | 62475 | 63.256
| 17 | Sidewalk |  | SY | 267 | 63 | 16821 | SY | 870 | 63.5 | 55245 |  | SY | 870 | 55.8 | 48546 |  | SY | 870 | 53.76 | 46771.2 | SY | 870 | 56.6 | 49242 | 58.532
| 18 | ADA Ramps |  | EA | 3 | 1600 | 4800 | EA | 52 | 1350 | 70200 |  | EA | 56 | 1450 | 81200 |  | EA | 56 | 1238.29 | 69344.24 | EA | 56 | 1090 | 61040 | 1345.658
| 19 | Mailbox Pads |  | EA | 11 | 2000 | 22000 | EA | 11 | 1435 | 15785 |  | EA | 11 | 850 | 9350 |  | EA | 11 | 844.29 | 9287.19 | EA | 15 | 860 | 12900 | 1197.858
| 20 | Street Markings |  | LS | 1 | 5700 | 5700 | LS | 1 | 13850 | 13850 |  | LS | 1 | 12900 | 12900 |  | LS | 1 | 7112.91 | 7112.91 | LS | 1 | 35000 | 35000 | 14912.582
| 21 | 6' Sidewalk |  | SY | 567 | 63 | 35721 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 12.6
| 22 | 6' ADA Ramps |  | EA | 3 | 2000 | 6000 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 400
| 23 | 10' ADA Ramps |  | EA | 6 | 2200 | 13200 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 440
| 24 | Signage |  | LS | 1 | 8500 | 8500 | LS |  |  | 0 |  | LS |  |  | 0 |  | LS |  |  | 0 | LS |  |  | 0 | 1700
| 25 | TPDES (Erosion Control) |  | LS | 1 | 27500 | 27500 | LS |  |  | 0 |  | LS |  |  | 0 |  | LS |  |  | 0 | LS |  |  | 0 | 5500
[6 empty] | SUBTOTAL | 1370608 |  |  | SUBTOTAL | 1329198.49 |  |  |  | SUBTOTAL | 1384422.81 |  |  |  | SUBTOTAL | 1328444.33 |  |  | SUBTOTAL | 1398410.75
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
STORM DRAIN IMPROVEMENTS
| ITEM | DESCRIPTION |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Basin A1 Structure & Misc. (Outlet Structure, Perforated Pipe, Headwall, Etc.) |  | LS | 1 | 127500 | 127500 | LS | 1 | 33000 | 33000 |  | LS | 1 | 474000 | 474000 |  | LS | 1 | 14315.35 | 14315.35 | LS | 1 | 46600 | 46600 | 139083.07
| 2 | Channel A1 |  | LS |  |  | 0 | LS |  |  | 0 |  | LS | 1 | 114000 | 114000 |  | SY |  |  | 0 | SY |  |  | 0 | 22800
| 3 | Channel A2 & Temp Swale |  | LS |  |  | 0 | LS |  |  | 0 |  | LS | 1 | 80000 | 80000 |  | SY |  |  | 0 | SY |  |  | 0 | 16000
| 4 | 4' Concrete Pilot Channel |  | SY | 223 | 85 | 18955 | SY | 724 | 100 | 72400 |  | SY | 820 | 77.1 | 63222 |  | SY | 1050 | 16.89 | 17734.5 | SY | 1050 | 95.9 | 100695 | 74.978
| 5 | 5' Inlet |  | EA | 2 | 4700 | 9400 | EA | 2 | 8073 | 16146 |  | EA | 2 | 4440 | 8880 |  | EA | 2 | 4776.59 | 9553.18 | EA | 2 | 4360 | 8720 | 5269.918
| 6 | 10' Inlet |  | EA | 1 | 7400 | 7400 | EA | 3 | 8957 | 26871 |  | EA | 3 | 4820 | 14460 |  | EA | 4 | 5814.16 | 23256.64 | EA | 3 | 6330 | 18990 | 6664.232
| 7 | 15' Inlet |  | EA | 1 | 14300 | 14300 |  |  |  | 0 |  | EA | 1 | 5900 | 5900 |  | EA | 1 | 11280.5 | 11280.5 | EA | 1 | 10100 | 10100 | 8316.1
| 8 | 20' Inlet |  | EA | 1 | 12000 | 12000 | EA | 1 | 9477 | 9477 |  | EA | 1 | 7000 | 7000 |  | EA | 2 | 6535.96 | 13071.92 | EA | 1 | 8350 | 8350 | 8672.592
| 9 | 36" RCP |  | LF | 30 | 130 | 3900 | LF | 28 | 147 | 4116 |  | LF | 28 | 94.9 | 2657.2 |  | LF | 28 | 122.97 | 3443.16 | LF | 28 | 244 | 6832 | 147.774
| 10 | 4'x2' Box Culvert |  | LF | 99 | 300 | 29700 | LF | 90 | 271 | 24390 |  | LF | 90 | 260 | 23400 |  | LF | 90 | 302.73 | 27245.7 | LF | 90 | 357 | 32130 | 298.146
| 11 | 8'x5' Box Culvert |  | LF | 160 | 650 | 104000 | LF | 147 | 661 | 97167 |  | LF | 148 | 580 | 85840 |  | LF | 130 | 670.54 | 87170.2 | LF | 130 | 1560 | 202800 | 824.308
| 12 | 9'x4'Box Culvert |  | LF | 79 | 700 | 55300 | LF | 73 | 775 | 56575 |  | LF | 73 | 700 | 51100 |  | LF | 73 | 745.7 | 54436.1 | LF | 73 | 1600 | 116800 | 904.14
| 13 | Headwall |  | EA | 2 | 1800 | 3600 | EA | 7 | 15508 | 108556 |  | EA | 6 | 7000 | 42000 |  | EA | 6 | 7542.31 | 45253.86 | EA | 6 | 1300 | 7800 | 6630.062
| 14 | Sidewalk Box |  | CY | 5 | 2100 | 10500 | EA | 2 | 16123 | 32246 |  | EA | 1 | 9800 | 9800 |  | EA | 2 | 4502.87 | 9005.74 | EA | 2 | 2650 | 5300 | 7035.174
| 15 | Gabion Mattress |  | SY | 282 | 100 | 28200 | SY | 295 | 78 | 23010 |  | SY | 275 | 28.6 | 7865 |  | SY | 275 | 16.89 | 4644.75 | SY | 275 | 68.8 | 18920 | 58.458
| 16 | Storm Retards |  | SY |  |  | 0 | SY |  |  | 0 |  | SY | 1415 | 52 | 73580 |  | SY | 1415 | 95.69 | 135401.35 | SY | 1415 | 103 | 145745 | 50.138
| 17 | Gabion Wall |  | CY |  |  | 0 | CY | 68 | 243 | 16524 |  | CY |  |  | 0 |  | CY |  |  | 0 | CY | 74937 | 2.1 | 157367.7 | 49.02
| 18 | Sloped Conc Rip Rap Channel A1 |  | SY |  |  | 0 | SY | 1023 | 107 | 109461 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 21.4
| 19 | Concrete Rip Rap Drop Structure Channel A4 |  | SY |  |  | 0 | SY | 72 | 133 | 9576 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 26.6
| 20 | Riser Pipe W. Gabion Trash Rack |  | EA |  |  | 0 | EA | 1 | 2200 | 2200 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 440
| 21 | Loose Rock Rip Rap 3" - 6" 12" Depth |  | SY |  |  | 0 | SY | 232 | 33 | 7656 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 6.6
| 22 | Erosion Blanket Type A |  | SY |  |  | 0 | SY | 31024 | 1.56 | 48397.44 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 0.312
| 23 | Reveg |  | SY |  |  | 0 | SY | 74937 | 1.65 | 123646.05 |  | SY | 74937 | 0.99 | 74187.63 |  | SY | 74937 | 1.24 | 92921.88 | SY |  |  | 0 | 0.776
| 24 | Sawcut |  | LF | 100 | 6 | 600 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 1.2
| 25 | 6" Concrete Rip Rap Channel A1 |  | SY | 1302 | 125 | 162750 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 25
| 26 | Curlex Matting |  | SY | 371 | 14 | 5194 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 2.8
| 27 | Hydromulch |  | SY | 4000 | 2.5 | 10000 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 0.5
| 28 | Concrete Rip Rap Channel A2 |  | SY | 250 | 115 | 28750 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 23
| 29 | Headwall/Wingwall Channel A2 |  | CY | 79 | 900 | 71100 | CY |  |  | 0 |  | CY |  |  | 0 |  | CY |  |  | 0 | CY |  |  | 0 | 180
| 30 | 10' Curb Inlet Channel A4 |  | EA | 2 | 9100 | 18200 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 1820
| 31 | Gabion Mattress Channel A1 |  | SY | 72 | 110 | 7920 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 22
| 32 | Trench Protection |  | LF | 368 | 1 | 368 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 0.2
| 33 | 36" SET |  | EA | 1 | 2400 | 2400 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 480
| 34 | 6" Concrete Rip Rap Channel A4 |  | SY | 107 | 130 | 13910 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 26
| 35 | Pipe Handrail |  | LF | 22 | 82 | 1804 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 16.4
[6 empty] | SUBTOTAL | 747751 |  |  | SUBTOTAL | 821414.49 |  |  |  | SUBTOTAL | 1137891.83 |  |  |  | SUBTOTAL | 548734.83 |  |  | SUBTOTAL | 887149.7
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
SANITARY SEWER IMPROVEMENTS
| ITEM | DESCRIPTION |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" Sanitary Sewer Pipe |  | LF | 790 | 33 | 26070 | LF | 3608 | 28.5 | 102828 |  | LF | 3608 | 34.65 | 125017.2 |  | LF | 499 | 27.53 | 13737.47 | LF | 3608 | 30.6 | 110404.8 | 30.856
| 2 | 8" Sanitary Sewer Pipe (6' - 8' DEEP) |  | LF | 742 | 34 | 25228 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 1013 | 28.67 | 29042.71 | LF |  |  | 0 | 12.534
| 3 | 8" Sanitary Sewer Pipe (8' - 10' DEEP) |  | LF | 496 | 35 | 17360 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 194 | 30 | 5820 | LF |  |  | 0 | 13
| 4 | 8" Sanitary Sewer Pipe (10' - 12' DEEP) |  | LF | 1084 | 40 | 43360 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 1038 | 31.56 | 32759.28 | LF |  |  | 0 | 14.312
| 5 | 8" Sanitary Sewer Pipe (12' - 14' DEEP) |  | LF | 192 | 45 | 8640 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 149 | 33.43 | 4981.07 | LF |  |  | 0 | 15.686
| 6 | 8" Sanitary Sewer Pipe (14' - 16' DEEP) |  | LF | 246 | 50 | 12300 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 127 | 35.7 | 4533.9 | LF |  |  | 0 | 17.14
| 7 | 8" Sanitary Sewer Pipe (16' - 18' DEEP) |  | LF | 60 | 70 | 4200 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 252 | 38.53 | 9709.56 | LF |  |  | 0 | 21.706
| 8 | 12" Sanitary Sewer Pipe |  | LF | 771 | 65 | 50115 | LF | 1940 | 41 | 79540 |  | LF | 1940 | 95.4 | 185076 |  | LF |  |  | 0 | LF | 1940 | 76.3 | 148022 | 55.54
| 9 | 12" Sanitary Sewer Pipe (16' - 18' DEEP) |  | LF | 908 | 78 | 70824 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 1072 | 45.55 | 48829.6 | LF |  |  | 0 | 24.71
| 10 | 12" Sanitary Sewer Pipe (18' - 20' DEEP) |  | LF | 262 | 79 | 20698 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 869 | 49.18 | 42737.42 | LF |  |  | 0 | 25.636
| 11 | 18" Sanitary Sewer Pipe |  | LF | 57 | 67 | 3819 | LF | 820 | 71 | 58220 |  | LF | 820 | 112 | 91840 |  | LF |  |  | 0 | LF | 820 | 85.1 | 69782 | 67.02
| 12 | 18" Sanitary Sewer Pipe (10' - 12' DEEP) |  | LF | 16 | 73 | 1168 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 14.6
| 13 | 18" Sanitary Sewer Pipe (12' - 14' DEEP) |  | LF | 38 | 85 | 3230 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 17
| 14 | 18" Sanitary Sewer Pipe (14' - 16' DEEP) |  | LF | 44 | 96 | 4224 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 19.2
| 15 | 18" Sanitary Sewer Pipe (16' - 18' DEEP) |  | LF | 391 | 97 | 37927 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 19.4
| 16 | 18" Sanitary Sewer Pipe (18' - 20' DEEP) |  | LF | 272 | 98 | 26656 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF | 820 | 67.93 | 55702.6 | LF |  |  | 0 | 33.186
| 17 | Standard Sanitary Manholes |  | EA | 27 | 8000 | 216000 | EA | 31 | 3995 | 123845 |  | EA | 31 | 4740 | 146940 |  | EA | 31 | 4051.52 | 125597.12 | EA | 31 | 5560 | 172360 | 5269.304
| 18 | Extra Depth Manhole |  | VF | 231 | 600 | 138600 | VF | 224 | 395 | 88480 |  | VF | 124 | 260 | 32240 |  | VF | 124 | 609.85 | 75621.4 | VF | 226 | 484 | 109384 | 469.77
| 19 | Trench Excavation Protection |  | LF | 6369 | 1 | 6369 | LF | 6368 | 1 | 6368 |  | LF | 6368 | 5.8 | 36934.4 |  | LF | 6368 | 2.41 | 15346.88 | LF | 6368 | 1.8 | 11462.4 | 2.402
| 20 | TV Inspection of Sewer Main |  | LF | 6369 | 1 | 6369 | LF | 6368 | 4.45 | 28337.6 |  | LF | 6368 | 3.5 | 22288 |  | LF | 6368 | 2.67 | 17002.56 | LF | 6368 | 1.85 | 11780.8 | 2.694
| 21 | 6" Service Laterals |  | LF | 4892 | 30 | 146760 | LF | 5425 | 24 | 130200 |  | LF | 5460 | 36.4 | 198744 |  | LF | 4780 | 33.15 | 158457 | LF | 6385 | 24.8 | 158348 | 29.67
| 22 | Vertical Stacked Services |  | EA | 339 | 150 | 50850 | EA |  |  | 0 |  | EA | 34 | 1070 | 36380 |  | EA |  |  | 0 | EA | 272 | 50.7 | 13790.4 | 254.14
| 23 | Connect to Existing Manhole |  | EA |  |  | 0 | EA | 1 | 5500 | 5500 |  | EA | 1 | 3320 | 3320 |  | EA | 1 | 2703.08 | 2703.08 | EA | 1 | 1860 | 1860 | 2676.616
| 24 | Connect to Existing Stub-Out |  | EA |  |  | 0 | EA | 0 | 4000 | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 800
| 25 | Tie Into Existing Wastewater Line |  | EA | 1 | 2500 | 2500 | EA | 0 | 4000 | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 1300
| 26 | Wastewater Stub-Out |  | EA |  |  | 0 | EA | 5 | 550 | 2750 |  | EA | 5 | 1440 | 7200 |  | EA |  |  | 0 | EA |  |  | 0 | 398
| 27 | 24" Steel Casing |  | LF | 28 | 180 | 5040 | LF | 28 | 375 | 10500 |  | LF | 28 | 148 | 4144 |  | LF | 28 | 191.92 | 5373.76 | LF | 28 | 185 | 5180 | 215.984
| 28 | 8" & 12" Caps for Stubouts |  | EA |  |  | 0 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA | 5 | 573.27 | 2866.35 | EA | 5 | 114 | 570 | 137.454
| 29 | Concrete Encasement |  | CY | 20.5 | 250 | 5125 | CY | 48 | 185 | 8880 |  | CY | 48 | 201 | 9648 |  | CY | 48 | 193.44 | 9285.12 | CY | 48 | 216 | 10368 | 209.088
| 30 | Drop Manhole |  | EA | 4 | 10000 | 40000 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 2000
[6 empty] | SUBTOTAL | 973432 |  |  | SUBTOTAL | 645448.6 |  |  |  | SUBTOTAL | 899771.6 |  |  |  | SUBTOTAL | 660106.88 |  |  | SUBTOTAL | 823312.4
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
WATER IMPROVEMENTS
| ITEM | DESCRIPTION |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 8" C900 Water Line |  | LF | 4859 | 31 | 150629 | LF | 5012 | 28 | 140336 |  | LF | 5012 | 37.1 | 185945.2 |  | LF | 5012 | 26.67 | 133670.04 | LF | 4935 | 30.7 | 151504.5 | 30.694
| 2 | 12" C900 Water Line |  | LF | 1254 | 45 | 56430 | LF | 1260 | 44 | 55440 |  | LF | 1220 | 50.4 | 61488 |  | LF | 1220 | 43.29 | 52813.8 | LF | 1273 | 44.8 | 57030.4 | 45.498
| 3 | 8" Ductile Iron Water Line |  | LF | 778 | 180 | 140040 | LF | 700 | 47 | 32900 |  | LF | 640 | 61 | 39040 |  | LF | 640 | 55.33 | 35411.2 | LF | 728 | 50.3 | 36618.4 | 78.726
| 4 | 12" Ductile Iron Water Line |  | LF | 371 | 90 | 33390 | LF | 430 | 62 | 26660 |  | LF | 420 | 73.3 | 30786 |  | LF | 420 | 77.42 | 32516.4 | LF | 374 | 66.9 | 25020.6 | 73.924
| 5 | Trench Excavation Safety Protection |  | LF | 7262 | 1 | 7262 | LF | 7402 | 2.5 | 18505 |  | LF | 7292 | 2.55 | 18594.6 |  | LF | 7292 | 1.2 | 8750.4 | LF | 7310 | 0.4 | 2924 | 1.53
| 6 | Fire Hydrant Assembly |  | EA | 10 | 5000 | 50000 | EA | 11 | 4087 | 44957 |  | EA | 11 | 5400 | 59400 |  | EA | 11 | 4521.34 | 49734.74 | EA | 10 | 4570 | 45700 | 4715.668
| 7 | 1" Dual Water Service Long |  | EA | 16 | 1600 | 25600 | EA | 16 | 1079 | 17264 |  | EA | 16 | 1300 | 20800 |  | EA | 16 | 1104 | 17664 | EA | 16 | 1240 | 19840 | 1264.6
| 8 | 1" Dual Water Service Short |  | EA | 40 | 1000 | 40000 | EA | 39 | 635 | 24765 |  | EA | 39 | 1010 | 39390 |  | EA | 39 | 635.43 | 24781.77 | EA | 40 | 921 | 36840 | 840.286
| 9 | 3/4" Single Water Service Long |  | EA | 14 | 1000 | 14000 | EA | 16 | 940 | 15040 |  | EA | 16 | 1180 | 18880 |  | EA | 16 | 789.46 | 12631.36 | EA | 12 | 909 | 10908 | 963.692
| 10 | 3/4" Single Water Service Short |  | EA | 24 | 590 | 14160 | EA | 23 | 546 | 12558 |  | EA | 23 | 900 | 20700 |  | EA | 23 | 456.76 | 10505.48 | EA | 24 | 761 | 18264 | 650.752
| 11 | 2" Service to Parks |  | EA |  |  | 0 | EA | 5 | 2221 | 11105 |  | EA | 5 | 2060 | 10300 |  | EA | 1 | 2738.74 | 2738.74 | EA | 1 | 2410 | 2410 | 1885.948
| 12 | 1" Irrigation Meter (At Parks and Channels) |  | EA |  |  | 0 | EA | 4 | 2150 | 8600 |  | EA | 4 | 2060 | 8240 |  | EA | 1 | 2738.74 | 2738.74 | EA |  |  | 0 | 1389.748
| 13 | 2" Domestic Meter (At Parks) |  | EA |  |  | 0 | EA | 1 | 2150 | 2150 |  | EA | 1 | 2060 | 2060 |  | EA | 1 | 3551.12 | 3551.12 | EA |  |  | 0 | 1552.224
| 14 | Meter Boxes |  | EA | 152 | 310 | 47120 | EA | 94 | 215 | 20210 |  | EA | 149 | 227 | 33823 |  | EA | 149 | 185.48 | 27636.52 | EA | 148 | 123 | 18204 | 212.096
| 15 | Tie-in |  | EA |  |  | 0 | EA | 2 | 7687 | 15374 |  | EA | 2 | 8600 | 17200 |  | EA | 2 | 5207.59 | 10415.18 | EA | 2 | 6130 | 12260 | 5524.918
| 16 | 2" Temporary Blow Off |  | EA | 2 | 1300 | 2600 | EA | 5 | 687 | 3435 |  | EA | 5 | 2400 | 12000 |  | EA | 5 | 1016.71 | 5083.55 | EA | 6 | 1010 | 6060 | 1282.742
| 17 | Pipe Fittings |  | TN | 6.69 | 3900 | 26091 | TN | 3.1 | 6093 | 18888.3 |  | TN | 3.1 | 9300 | 28830 |  | TN | 3.1 | 5095 | 15794.5 | TN | 6.62 | 5070 | 33563.4 | 5891.6
| 18 | 8" Gate Valve MJ w/ box |  | EA | 21 | 1800 | 37800 | EA | 21 | 1331 | 27951 |  | EA | 21 | 1660 | 34860 |  | EA | 22 | 1495.18 | 32893.96 | EA | 24 | 1560 | 37440 | 1569.236
| 19 | 12" Gate Valve MJ w/ box |  | EA | 8 | 3400 | 27200 | EA | 8 | 2443 | 19544 |  | EA | 8 | 2610 | 20880 |  | EA | 8 | 2564.17 | 20513.36 | EA | 13 | 2600 | 33800 | 2723.434
| 20 | 1.5" Irrigation Long Service |  | EA | 1 | 4400 | 4400 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 880
| 21 | 1.5" Domestic Long Service |  | EA | 1 | 2000 | 2000 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA | 1 | 1650 | 1650 | 730
| 22 | Joint Restraints |  | LS | 1 | 23500 | 23500 | LS |  |  | 0 |  | LS |  |  | 0 |  | LS |  |  | 0 | LS |  |  | 0 | 4700
| 23 | 2" Permanent Blowoff |  | EA | 6 | 2800 | 16800 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA | 1 | 2430 | 2430 | 1046
| 24 | 12"x12" Cut -In-Tee |  | EA | 1 | 9400 | 9400 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 1880
| 25 | 12"x8" Tapping Sleeve & Valve |  | EA | 1 | 11000 | 11000 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 2200
| 26 | 12" Water Tie-In |  | EA | 1 | 1300 | 1300 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 260
| 27 | 8" Water Tie-In |  | EA | 1 | 2400 | 2400 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 480
| 28 | Hydrostatic Testing |  | EA | 1 | 3100 | 3100 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA | 1 | 5040 | 5040 | 1628
| 29 | 1.5" Short Service |  | LF |  |  | 0 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF | 1 | 1650 | 1650 | 330
| 30 | Chlorination |  | LF |  |  | 0 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF | 7310 | 0.55 | 4020.5 | 0.11
[6 empty] | SUBTOTAL | 746222 |  |  | . | 515682.3 |  |  |  | SUBTOTAL | 663216.8 |  |  |  | SUBTOTAL | 499844.86 |  |  | SUBTOTAL | 563177.8
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
DRY UTILITIES
| ITEM | DESCRIPTION |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Dry Utilities |  | EA | 149 | 2900 | 432100 | EA | 1 | 345000 | 345000 |  | EA | 149 | 3110 | 463390 |  | EA | 149 | 2944.5 | 438730.5 | EA |  |  | 0
[6 empty] | SUBTOTAL | 432100 |  |  | SUBTOTAL | 345000 |  |  |  | SUBTOTAL | 463390 |  |  |  | SUBTOTAL | 438730.5 |  |  | SUBTOTAL | 0
[6 empty] | CONSTRUCTION TOTAL | 5165240.9 |  |  | CONSTRUCTION TOTAL | 4483320.61 |  |  |  | CONSTRUCTION TOTAL | 5132973.86 |  |  |  | CONSTRUCTION TOTAL | 4357926.6224 |  |  | CONSTRUCTION TOTAL | 4633942.3
| 1 | Bonds, Mobilization, Prep ROW, Insurance |  | LS | 1 | 15000 | 15000 | LS | 1 | 74218 | 74218 |  | LS | 1 | 318000 | 318000 |  | LS | 1 | 114857.75 | 114857.75 | LS | 1 | 71200 | 71200
[6 empty] | SUBTOTAL | 15000 |  |  | SUBTOTAL | 74218 |  |  |  | SUBTOTAL | 318000 |  |  |  | SUBTOTAL | 114857.75 |  |  | SUBTOTAL | 71200
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
[5 empty] | TOTAL COST |  | 5180240.9 |  | TOTAL COST |  | 4557538.61 |  |  | TOTAL COST |  | 5450973.86 |  |  | TOTAL COST |  | 4472784.3724 |  | TOTAL COST |  | 4705142.3
OFFSITE IMPROVEMENTS
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
TxDOT Improvements
| Item | Description |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Sawcut & Removals |  | SY |  |  | 0 | LF | 318 | 10 | 3180 |  | SY | 1596 | 12.45 | 19870.2 |  | SY |  |  | 0 | SY |  |  | 0 | 4.49
| 2 | Excavation & Embankment |  | SY |  |  | 0 | SY |  |  | 0 |  | SY | 810 | 17 | 13770 |  | SY |  |  | 0 | SY |  |  | 0 | 3.4
| 3 | 6" Concrete Slope Paving |  | SY |  |  | 0 | SY | 438 | 107 | 46866 |  | SY | 500 | 116 | 58000 |  | SY | 500 | 167.34 | 83670 | SY | 500 | 102 | 51000 | 98.468
| 4 | Remove Existing Pavement |  | SY | 40 | 25 | 1000 | SY | 5160 | 3 | 15480 |  | SY | 40 | 20.4 | 816 |  | SY | 40 | 9.37 | 374.8 | SY | 40 | 12.1 | 484 | 13.974
| 5 | 2" Type C Asphalt Pavement (Decel Lane) |  | SY |  |  | 0 | SY | 405 | 9.38 | 3798.9 |  | SY | 405 | 9.95 | 4029.75 |  | SY | 405 | 9.46 | 3831.3 | SY | 405 | 16.7 | 6763.5 | 9.098
| 6 | 10" Black Base (Decel Lane) |  | SY |  |  | 0 | SY | 810 | 45.75 | 37057.5 |  | SY | 810 | 48.45 | 39244.5 |  | SY | 810 | 63.79 | 51669.9 | SY | 810 | 65.6 | 53136 | 44.718
| 7 | Tack Coat |  | GAL |  |  | 0 | GAL | 162 | 3.03 | 490.86 |  | GAL | 162 | 3.2 | 518.4 |  | GAL | 162 | 3.35 | 542.7 | GAL | 162 | 6.25 | 1012.5 | 3.166
| 8 | Prime Coat |  | GAL |  |  | 0 | GAL | 162 | 3.5 | 567 |  | GAL | 162 | 3.65 | 591.3 |  | GAL | 162 | 4.46 | 722.52 | GAL | 162 | 5.4 | 874.8 | 3.402
* | 9 | TxDOT Sidewalk |  | SY |  |  | 0 | SY |  |  | 0 |  | SY | 55 | 67.3 | 3701.5 |  | SY |  |  | 0 | SY |  |  | 0 | 13.46
| 10 | Ribbon Curb |  | LF | 210 | 19 | 3990 | LF |  |  | 0 |  | LF | 530 | 17.05 | 9036.5 |  | LF | 530 | 25.66 | 13599.8 | LF | 530 | 18.6 | 9858 | 16.062
| 11 | Street Markings |  | LS | 1 | 3700 | 3700 | LS | 1 | 6600 | 6600 |  | LS | 1 | 3490 | 3490 |  | LS | 1 | 11790.18 | 11790.18 | LS | 1 | 15400 | 15400 | 8196.036
| 12 | Positive TxDOT Barrier (Metal Beam Guard Fence) |  | LF |  |  | 0 | LF | 63 | 64.37 | 4055.31 |  | LF | 350 | 41 | 14350 |  | LF | 350 | 390.46 | 136661 | LF | 350 | 165 | 57750 | 132.166
| 13 | Traffic Control |  | LS | 1 | 25000 | 25000 | LS | 1 | 7500 | 7500 |  | LS | 1 | 11600 | 11600 |  | LS | 1 | 16734.03 | 16734.03 | LS |  |  | 0 | 12166.806
| 14 | Temporary Rock Berm |  | LF | 310 | 40 | 12400 | LF | 100 | 25 | 2500 |  | LF | 100 | 52.4 | 5240 |  | LF | 100 | 30.12 | 3012 | LF | 100 | 40.4 | 4040 | 37.584
| 15 | Demolish Existing Concrete Channel |  | SY | 2130 | 17 | 36210 | SY | 1596 | 11 | 17556 |  | SY |  |  | 0 |  | SY | 1596 | 7.2 | 11491.2 | SY | 1596 | 16 | 25536 | 10.24
| 16 | Concrete Retaining Wall |  | LF |  |  | 0 | LF | 150 | 306 | 45900 |  | LF |  |  | 0 |  | LF | 2275 | 94.83 | 215738.25 | LF | 2275 | 41.1 | 93502.5 | 88.386
| 17 | Remove Existing Curb |  | LF | 206 | 3 | 618 | LF | 355 | 11.65 | 4135.75 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 2.93
| 18 | 10x5 Concrete Rip Rap |  | EA |  |  | 0 | EA | 1 | 1895 | 1895 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 379
| 19 | HWY 46 Decel Sub Preparation |  | SY |  |  | 0 | SY | 810 | 26 | 21060 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 5.2
| 20 | Type II Curb with Rebar |  | LF |  |  | 0 | LF | 317 | 25.95 | 8226.15 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 5.19
| 21 | Guardrail End Treatment |  | EA |  |  | 0 | EA | 4 | 4375 | 17500 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 875
| 22 | 12" Asphalt Treated Base |  | SY | 360 | 60 | 21600 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 12
| 23 | 2" HMAC (Type D) |  | SY | 324 | 14 | 4536 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 2.8
| 24 | Remove Concrete for Drain Tie In |  | SY | 64 | 40 | 2560 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 8
| 25 | Replace Concrete Channel Section |  | SY | 70 | 155 | 10850 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 31
| 26 | Topsoil |  | SY | 350 | 5 | 1750 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 1
| 27 | Hydromulch/Seeding/Sod |  | SY | 350 | 2.5 | 875 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 0.5
| 28 | Signage |  | LS | 1 | 3500 | 3500 | LS |  |  | 0 |  | LS |  |  | 0 |  | LS |  |  | 0 | LS | 1 | 14500 | 14500 | 3600
[6 empty] | SUBTOTAL | 128589 |  |  | SUBTOTAL | 244368.47 |  |  |  | SUBTOTAL | 184258.15 |  |  |  | SUBTOTAL | 549837.68 |  |  | SUBTOTAL | 333857.3
|  |  |  | Yantis |  |  |  | Lowden Excavating, Inc. |  |  |  |  | Capital Excavation |  |  |  |  | 7 Site & Utility |  |  |  | V.K. Knowlton
Pieper Improvements
| Item | Description |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT |  | UNIT | EST/QTY | $/UNIT | AMOUNT | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | Remove Existing Culverts and Headwalls |  | EA | 2 | 1200 | 2400 | LS | 1 | 4500 | 4500 |  | LS | 1 | 26600 | 26600 |  | LS | 1 | 6192.69 | 6192.69 | LS | 1 | 2820 | 2820 | 8262.538
| 2 | Excavation & Embankment |  | SY |  |  | 0 | SY |  |  | 0 |  | SY | 5115 | 17 | 86955 |  | SY |  |  | 0 | SY |  |  | 0 | 3.4
| 3 | Existing Culverts Extended (24" RCP) |  | LF | 162 | 110 | 17820 | LF | 120 | 85 | 10200 |  | LF | 120 | 86.3 | 10356 |  | LF | 178 | 137.46 | 24467.88 | LF | 162 | 123 | 19926 | 108.352
| 4 | 24" SET |  | EA |  |  | 0 | EA | 3 | 3200 | 9600 |  | EA | 1 | 1330 | 1330 |  | EA |  |  | 0 | EA |  |  | 0 | 906
| 5 | Culvert Headwall TxDOT (PW) |  | LS | 1 | 55000 | 55000 | EA |  |  | 0 |  | EA | 2 | 24300 | 48600 |  | EA | 4 | 4295.07 | 17180.28 | EA | 1 | 15500 | 15500 | 19819.014
| 6 | Rip-Rap |  | SY | 314 | 150 | 47100 | SY |  |  | 0 |  | SY | 342.22 | 75.8 | 25940.276 | ** | SY | 342 | 167.34 | 57230.28 | SY | 342 | 102 | 34884 | 99.028
| 7 | Remove Asphalt Pavement |  | SY | 5236 | 8.5 | 44506 | SY | 5075 | 3 | 15225 |  | SY | 5075 | 6.1 | 30957.5 |  | SY | 5075 | 3.55 | 18016.25 | SY | 5075 | 2 | 10150 | 4.63
| 8 | Demolish Existing Pavement |  | SY |  |  | 0 | SY | 990 | 6 | 5940 |  | SY | 990 | 13.95 | 13810.5 |  | SY | 990 | 3.21 | 3177.9 | SY | 990 | 23.6 | 23364 | 9.352
| 9 | 2" HMAC Type D |  | SY | 8766 | 12.5 | 109575 | SY | 9151 | 9 | 82359 |  | SY | 9151 | 9.5 | 86934.5 |  | SY | 9151 | 9.46 | 86568.46 | SY | 9151 | 12.8 | 117132.8 | 10.652
| 10 | 3" HMAC Type D |  | SY |  |  | 0 | SY | 9151 | 13.4 | 122623.4 |  | SY |  |  | 0 |  | SY | 9151 | 14.1 | 129029.1 | SY | 9151 | 18.1 | 165633.1 | 9.12
| 11 | 16" Flex Base |  | SY |  |  | 0 | SY | 5115 | 21 | 107415 |  | SY |  |  | 0 |  | SY | 5115 | 13.67 | 69922.05 | SY | 5115 | 18.9 | 96673.5 | 10.714
| 12 | 11" Flex Base |  | SY | 3530 | 14.5 | 51185 | SY |  | 22 | 0 |  | SY | 5115 | 19.85 | 101532.75 |  | SY |  |  | 0 | SY | 5115 | 10.2 | 52173 | 13.31
| 13 | 6" Lime Stabilized Subgrade |  | SY | 3530 | 7 | 24710 | SY |  |  | 0 |  | SY | 5115 | 13.9 | 71098.5 |  | SY |  |  | 0 | SY |  |  | 0 | 4.18
| 14 | 8" Lime Stabilized Subgrade |  | SY |  |  | 0 | SY | 5115 | 22 | 112530 |  | SY |  |  | 0 |  | SY | 5115 | 7.31 | 37390.65 | SY |  |  | 0 | 5.862
| 15 | Prime Coat |  | GAL |  |  | 0 | GAL | 1023 | 3.7 | 3785.1 |  | GAL | 1023 | 3.9 | 3989.7 |  | GAL | 1023 | 4.46 | 4562.58 | GAL | 1023 | 5.45 | 5575.35 | 3.502
| 16 | Ribbon Curb |  | LF | 4223 | 18 | 76014 | LF | 3858 | 28.5 | 109953 |  | LF | 2244 | 9.45 | 21205.8 |  | LF | 2244 | 25.66 | 57581.04 | LF | 2244 | 10.8 | 24235.2 | 18.482
| 17 | Curb & Gutter |  | LF | 847 | 20 | 16940 | LF | 1040 | 40 | 41600 |  | LF | 872 | 14.75 | 12862 |  | LF | 872 | 15.06 | 13132.32 | LF | 872 | 21.9 | 19096.8 | 22.342
| 18 | Sidewalk |  | SY | 231 | 65 | 15015 | SY | 230 | 66.5 | 15295 |  | SY | 2250 | 71.6 | 161100 |  | SY | 230 | 53.76 | 12364.8 | SY | 250 | 59.7 | 14925 | 63.312
| 19 | ADA Ramps |  | EA | 2 | 1600 | 3200 | EA | 2 | 2243 | 4486 |  | EA | 2 | 1160 | 2320 |  | EA | 2 | 1227.16 | 2454.32 | EA | 2 | 1570 | 3140 | 1560.032
| 20 | Remove Driveways |  | SY |  |  | 0 | SY | 180 | 10 | 1800 |  | SY | 180 | 38.75 | 6975 |  | SY |  |  | 0 | SY | 180 | 24.1 | 4338 | 14.57
| 21 | Proposed Driveways (Concrete) |  | SY |  |  | 0 | SY | 180 | 90 | 16200 |  | SY | 180 | 87.6 | 15768 |  | SY |  |  | 0 | SY | 180 | 104 | 18720 | 56.32
| 22 | Driveway Culverts with Safety End Treatment |  | LF |  |  | 0 | LF |  |  | 0 | *** | LF | 360 | 85.1 | 30636 |  | LF |  |  | 0 | LF | 360 | 104 | 37440 | 37.82
| 23 | Silt Fence | **** | SY | 3660 | 3.5 | 12810 | LF | 3785 | 2.2 | 8327 |  | LF | 2260 | 4.05 | 9153 |  | LF | 2260 | 2.18 | 4926.8 | LF | 2260 | 2.95 | 6667 | 2.976
| 24 | Temporary Rock Berm |  | LF | 300 | 43 | 12900 | LF |  |  | 0 |  | LF | 200 | 58.2 | 11640 |  | LF | 200 | 30.12 | 6024 | LF | 200 | 40.4 | 8080 | 34.344
| 25 | Reveg Ditches |  | SY | 2735 | 2.5 | 6837.5 | SY | 2735 | 1.65 | 4512.75 |  | SY | 2735 | 1.55 | 4239.25 |  | SY | 2735 | 1.23 | 3364.05 | SY | 2735 | 2.15 | 5880.25 | 1.816
| 26 | Remove and replace metal beam guard fence |  | LF | 264 | 190 | 50160 | LF |  |  | 0 | *** | LF | 800 | 46.8 | 37440 |  | LF |  |  | 0 | LF |  |  | 0 | 47.36
| 27 | Street Lights |  | EA | 5 | 3400 | 17000 | EA |  |  | 0 | *** | EA | 5 | 1750 | 8750 |  | EA |  |  | 0 | EA | 5 | 5480 | 27400 | 2126
| 28 | Signage and Striping |  | LS | 1 | 7300 | 7300 | LS | 1 | 2550 | 2550 |  | LS | 1 | 2910 | 2910 |  | LS | 1 | 4184.47 | 4184.47 | LS | 1 | 5140 | 5140 | 4416.894
| 29 | Traffic Control |  | LS | 1 | 24500 | 24500 | LS | 1 | 22000 | 22000 |  | LS | 1 | 29100 | 29100 |  | LS | 1 | 17268.05 | 17268.05 | LS | 1 | 31300 | 31300 | 24833.61
| 30 | 18" SET |  | LS |  |  | 0 | LS | 2 | 2640 | 5280 |  | LS |  |  | 0 |  | LS |  |  | 0 | LS |  |  | 0 | 528
| 31 | Excavation Prior to Base |  | CY |  |  | 0 | CY | 2983 | 10 | 29830 |  | CY |  |  | 0 |  | CY |  |  | 0 | CY |  |  | 0 | 2
| 32 | Type 3 Rock Berm |  | LS |  |  | 0 | LS | 306 | 48.75 | 14917.5 |  | LS |  |  | 0 |  | LS |  |  | 0 | LS |  |  | 0 | 9.75
| 33 | High Service Rock Berm |  | LS |  |  | 0 | LS | 162 | 56.25 | 9112.5 |  | LS |  |  | 0 |  | LS |  |  | 0 | LS |  |  | 0 | 11.25
| 34 | Remove Curb |  | LF | 274 | 3.5 | 959 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 0.7
| 35 | Remove 20" CMP |  | LF | 130 | 37 | 4810 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF |  |  | 0 | 7.4
| 36 | Proposed Driveways Flexbase |  | SY | 113 | 20 | 2260 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 4
| 37 | Construction Entrance |  | EA | 1 | 1600 | 1600 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 320
| 38 | Washout Pit |  | EA | 1 | 750 | 750 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 150
| 39 | 3-4" PVC SCH 40 Conduit Crossing |  | LF | 50 | 25 | 1250 | LF |  |  | 0 |  | LF |  |  | 0 |  | LF |  |  | 0 | LF | 95 | 34.7 | 3296.5 | 11.94
| 40 | Remove Existing Rip Rap |  | SY | 126 | 18 | 2268 | SY |  |  | 0 |  | SY |  |  | 0 |  | SY |  |  | 0 | SY |  |  | 0 | 3.6
| 41 | 4'x4' Junction Box |  | EA | 1 | 3800 | 3800 | EA |  |  | 0 |  | EA |  |  | 0 |  | EA |  |  | 0 | EA |  |  | 0 | 760
[6 empty] | SUBTOTAL | 612669.5 |  |  | SUBTOTAL | 760041.25 |  |  |  | SUBTOTAL | 862203.776 |  |  |  | SUBTOTAL | 575037.97 |  |  | SUBTOTAL | 753490.5
* | [12 empty] | Capital Excavation
Offsite Sanitary Sewer
| Item | Description | [10 empty] | UNIT | EST/QTY | $/UNIT | AMOUNT
| 1 | 12" Sanitary Sewer Pipe | [10 empty] | LF | 673 | 49.5 | 33313.5
| 2 | Standard Sanitary Manhole | [10 empty] | EA | 2 | 4160 | 8320
| 3 | Extra Depth Manhole | [10 empty] | VF | 12 | 420 | 5040
| 4 | Trench Excavation Protection | [10 empty] | LF | 673 | 6.9 | 4643.7
| 5 | TV Inspection of Sewer Main | [10 empty] | LF | 673 | 3.5 | 2355.5
| 6 | Connect to Existing Manhole | [10 empty] | EA | 1 | 3320 | 3320
[15 empty] | SUBTOTAL | 56992.7
| 1 | Bonds, Mobilization, Prep ROW, Insurance | [8 empty] | 16926 | [9 empty] | 28780.09
|  | Offsite Total |  |  |  |  | 741258.5 |  |  |  | 1021335.72 |  |  |  |  | 1103454.626 |  |  |  |  | 1153655.74 |  |  |  | 1087347.8
|  | Grand Total |  |  |  |  | 5921499.4 |  |  |  | 5578874.33 |  |  |  |  | 6554428.486 |  |  |  |  | 5626440.1124 |  |  |  | 5792490.1
[14 empty] | Offsite without TxDOT Sidewalk & Offsite Sewer |  | 1042760.426
[14 empty] | Total without TxDOT Sidewalk & Offsite Sewer |  | 6493734.286
| * | Item should not have be included in the bid. Contractors were made aware of this prior to the bid due date.
| ** | There is a 0.02$ discrepancy between the bid and our calculations based on the price and quantity provided in the bid
| *** | Items were not included in bid and should have been included.
| **** | Possible mistake/error with unit submitted